Isolation of Total RNA from Leukocytes (Promega Kit)

Procedure

1. Place 1 ml of whole blood into a sterile 1.5–2 ml micro centrifuge tube.

2. Collect blood cells by centrifugation at 16,000rpm for 3 minutes,

3. Discard the supernatant.

4. Add 1 ml of Red Blood Cell Lysis Solution and carefully pipette the pellet 4–5 times to resuspend it.

5. Centrifuge at 14,000 rpm for 2 minutes. Remove the supernatant from the tube,

6. Repeat Steps 4 and 5

7. Add 175µl of RNA Lysis Buffer to the cells. Pipet to resuspend and lyse the cells.

8. Add 350µl of RNA Dilution Buffer (blue). Mix by inverting 3–4 times. Place in a water bath at 70°C for 3 minutes

9. Centrifuge at 12,000–14,000 × g for 10 minutes.

10. Transfer the cleared lysate to a sterile tube by pipetting.  Avoid disturbing the pelleted debris.

11. Add 200µl 95% ethanol to the cleared lysate, and mix by pipetting 3–4 times.

12. Transfer this mixture to the Spin Column Assembly and centrifuge at 12,000–14,000 × g for one minute.

13. Discard the liquid in the Collection Tube.

14. Add 600µl of RNA Wash Solution to the Spin Column Assembly. Centrifuge at 12,000–14,000 × g for 1 minute. Empty the Collection Tube and place it in a rack.

15. Apply 50 µl of this freshly prepared DNase incubation mix directly to the membrane inside the Spin Basket.

16. Incubate for 15 minutes at 20–25°C. After this incubation, add 200µl of DNase Stop to the Spin Basket, and centrifuge at 12,000–14,000 × g for 1 minute. Empty the Collection Tube before the next step.

17. Add 600µl RNA Wash Solution and centrifuge at high speed for 2 minutes.

18. Transfer the Spin Basket from the Collection Tube to a new Tube, and add 100µl Nuclease-Free Water to the membrane.

19. Centrifuge at 12,000–14,000 × g for 1 minute. Remove the Spin Basket and discard. Cap the Elution Tube containing the purified RNA and store it at –70°C