EXERCISE 4.1:  Agarose Gel Electrophoresis

Materials & equipments:

| - DNA samples | 9. Micropipettes (1 – 10 µl) |
| --- | --- |
| - 1X TBE buffer | 10. Sterile white tips (1 – 10 µl) |
| - Ethidium bromide | 11. Horizontal gel electrophoresis apparatus |
| - 6X Loading dye | 12. Power supply |
| - DNA size marker | 13. Autoclave |
| - 0.25 M HCl | 14. Water bath |
| - 0.25 M NaOH | 15. UV transilluminator |
| - Agarose | 16. Water bath |
|  | 17. Gloves |
|  | 18. Parafilm |

Procedure:

- Prepare gel tray and place comb in gel tray.

- Prepare a 1 % agarose solution, measure 1.0 g agarose into a flask and add 100 ml 1X TBE buffer. Microwave until agarose is dissolved and solution is clear.

- Allow solution to cool to about 60°C before pouring. Add 1 µl of Ethidium bromide.

- Pour 60°C gel solution into tray and allow gel to solidify about 30 minutes at room temperature.

- To run, gently remove the comb, place tray in electrophoresis chamber, and cover (just until wells are submerged) with electrophoresis buffer (the same buffer used to prepare the agarose).

- To prepare samples for electrophoresis, add 2 μl of 6x gel loading dye for every 5 μl of DNA solution. Mix well & load. Don’t forget to load the DNA size marker.

- Electrophoresis at 50-150 volts until dye markers have migrated an appropriate distance, depending on the size of DNA to be visualized.

- Visualize DNA under the UV transilluminator.

EXERCISE 4.2:  DNA Spectrophotometery

Materials & equipments:

| - DNA samples | 5. Spectrophotometer |
| --- | --- |
| - Tris-EDTA | 6. Quartz cuvettes |
|  | 8. Micropipettes (1 – 10 µl) |
|  | 9. Sterile white tips (1 – 10 µl) |
|  | 11. Nandrop |
|  | 12. Wipes |
|  | 13. 1.5 ml tubes |

Procedure (A): Spectrophotometers

- Turn on the spectrophotomer about 10 minutes ahead of time to let the H2-deuterium lamp (for UV) warm up. You will take readings at 260 and 280 nm.

- Dilute the DNA samples (1:200) in TE.

- BLANK the spectrophotometer against TE alone at 260 nm.

- Read the absorbance of your diluted DNA samples at 260 nm.

- BLANK the spectrophotometer against TE alone at 280 nm.

- Read the absorbance of your diluted DNA samples at 280 nm.

- Record your A260 and A280 measurements and the ratio of A260/A280.

- Calculate the DNA concentration in your diluted sample using the Beer-Lambert law.

Procedure (B): NanoDrop 1000

- Turn on PC and open NanoDrop program

- Select the application (e.g DNA or RNA) from menu.

- Lift arm and BLANK instrument using water or elution buffer

- Place 1-2 μL of DNA sample on and click “MEASURE” on instrument screen

- Clean using a lab wipe

REFERENCES:

- Clark, W. and K. Christopher. 2000. An introduction to DNA: Spectrophotometry, degradation, and the “Frankengel’ experiment. Pages 81-99, in Tested studies for laboratory teaching, Volume 22 (S. J. Karcher, Editor). Proceedings of the 22nd Workshop/Conference of the Association for Biology Laboratory Education (ABLE), 489 pages.